## Instructions
qPCR Data Analysis nrStar™ Mouse tRF PCR Array
Arraystar Inc., 9430 Key West Ave #128, Rockville, MD 20850, USA Tel: 888-416-6343 • Fax: 240-238-9860 • Email: support@arraystar.com • www.arraystar.com
1. Export the raw Ct values using the software supplied with the real-time PCR instrument.
2. Paste your test sample Ct values to the sheet "Test Sample Data" in the same well positions.
3. Paste your control sample Ct values to the sheet "Control Sample Data" in the same well positions.
4. The software will perform all the calculations and mapping automatically.
5. Check the results in Excel sheets "All expressed genes", "Scatter Plot", "Volcano Plot", etc.
Notes
1. The software may not work if the sample numbers participating in the comparison are less than 4.
2. The automatic procedures include:
Step | Excel sheet
Set all Ct values ≥ 35 or N/A (not detected) to 35 | Data pre-processing
Calculate inter-plate calibration factors | Choose Housekeeping Genes
Select three most stably expressed housekeeping reference genes and calculate average Ct(HKs) | Choose Housekeeping Genes
Inter-plate calibration | Data pre-processing
Calculate DCt for each RNA: DCt(RNA)=Ct(RNA)- average Ct(HKs) | Data pre-processing
Calculate fold-change for each RNA: Fold-change = 2^[average ∆Ct(Control) - average ∆Ct(Test)] | All expressed genes
Calculate P-value | All expressed genes
Scatter Plot | Scatter Plot
Volcano Plot graphing | Volcano Plot
Bar graphing of top 20 up regulated tRF | up_Bar Graph
Bar graphing of top 20 down regulated tRF | down_Bar Graph

## Transcript table
Transcript Table |  |  |  |  | tRFdb | http://genome.bioch.virginia.edu/trfdb/index.php
Order in 96 (for sorting by row) | Position | Transcript name | Type | tRF ID in tRFdb
1 | A01 | 1003 | tRF-1 | 1003
2 | A02 | 1006 | tRF-1 | 1006
3 | A03 | 1008 | tRF-1 | 1008
4 | A04 | 1009 | tRF-1 | 1009
5 | A05 | 1010 | tRF-1 | 1010
6 | A06 | 1015 | tRF-1 | 1015
7 | A07 | 1016 | tRF-1 | 1016
8 | A08 | 1019 | tRF-1 | 1019
9 | A09 | 1020 | tRF-1 | 1020
10 | A10 | 1026 | tRF-1 | 1026
11 | A11 | 1035 | tRF-1 | 1035
12 | A12 | 3001b | tRF-3 | 3001b
13 | B01 | 3002a/3035a | tRF-3 | 3002a/3035a
14 | B02 | 3003a | tRF-3 | 3003a
15 | B03 | 3004b | tRF-3 | 3004b
16 | B04 | 3005a | tRF-3 | 3005a
17 | B05 | 3006a | tRF-3 | 3006a
18 | B06 | 3009a | tRF-3 | 3009a
19 | B07 | 3009b | tRF-3 | 3009b
20 | B08 | 3010a | tRF-3 | 3010a
21 | B09 | 3010b | tRF-3 | 3010b
22 | B10 | 3011a | tRF-3 | 3011a
23 | B11 | 3011b | tRF-3 | 3011b
24 | B12 | 3012b | tRF-3 | 3012b
25 | C01 | 3017a | tRF-3 | 3017a
26 | C02 | 3017b | tRF-3 | 3017b
27 | C03 | 3019a | tRF-3 | 3019a
28 | C04 | 3019b/3020b | tRF-3 | 3019b/3020b
29 | C05 | 3021a | tRF-3 | 3021a
30 | C06 | 3023b | tRF-3 | 3023b
31 | C07 | 3024b/3046b | tRF-3 | 3024b/3046b
32 | C08 | 3025a | tRF-3 | 3025a
33 | C09 | 3025b | tRF-3 | 3025b
34 | C10 | 3026a | tRF-3 | 3026a
35 | C11 | 3027a | tRF-3 | 3027a
36 | C12 | 3028b/3029b | tRF-3 | 3028b/3029b
37 | D01 | 3028b/3029b/3040b/3045b | tRF-3 | 3028b/3029b/3040b/3045b
38 | D02 | 3029a | tRF-3 | 3029a
39 | D03 | 3030a | tRF-3 | 3030a
40 | D04 | 3031a | tRF-3 | 3031a
41 | D05 | 3031b | tRF-3 | 3031b
42 | D06 | 3032a | tRF-3 | 3032a
43 | D07 | 3032b | tRF-3 | 3032b
44 | D08 | 3033a | tRF-3 | 3033a
45 | D09 | 3033b | tRF-3 | 3033b
46 | D10 | 3034a | tRF-3 | 3034a
47 | D11 | 3036a | tRF-3 | 3036a
48 | D12 | 3036b/3037b | tRF-3 | 3036b/3037b
49 | E01 | 3038a | tRF-3 | 3038a
50 | E02 | 3038b | tRF-3 | 3038b
51 | E03 | 3039a | tRF-3 | 3039a
52 | E04 | 3041b/3042b | tRF-3 | 3041b/3042b
53 | E05 | 3043a | tRF-3 | 3043a
54 | E06 | 3043b | tRF-3 | 3043b
55 | E07 | 3044a | tRF-3 | 3044a
56 | E08 | 3044b | tRF-3 | 3044b
57 | E09 | 3045a | tRF-3 | 3045a
58 | E10 | 3046a | tRF-3 | 3046a
59 | E11 | 3047b | tRF-3 | 3047b
60 | E12 | 3048a | tRF-3 | 3048a
61 | F01 | 3050a | tRF-3 | 3050a
62 | F02 | 3051a | tRF-3 | 3051a
63 | F03 | 3052a | tRF-3 | 3052a
64 | F04 | 5001a/5001b/5010a | tRF-5 | 5001a/5001b/5010a
65 | F05 | 5002b/5004b | tRF-5 | 5002b/5004b
66 | F06 | 5005a/5006b | tRF-5 | 5005a/5006b
67 | F07 | 5005b | tRF-5 | 5005b
68 | F08 | 5006a | tRF-5 | 5006a
69 | F09 | 5006c | tRF-5 | 5006c
70 | F10 | 5007a | tRF-5 | 5007a
71 | F11 | 5009a | tRF-5 | 5009a
72 | F12 | 5009b | tRF-5 | 5009b
73 | G01 | 5011a | tRF-5 | 5011a
74 | G02 | 5011b/5012b | tRF-5 | 5011b/5012b
75 | G03 | 5012b | tRF-5 | 5012b
76 | G04 | 5013a | tRF-5 | 5013a
77 | G05 | 5013b | tRF-5 | 5013b
78 | G06 | 5013b/5017b/5018b | tRF-5 | 5013b/5017b/5018b
79 | G07 | 5014a | tRF-5 | 5014a
80 | G08 | 5014a/5015a | tRF-5 | 5014a/5015a
81 | G09 | 5014b | tRF-5 | 5014b
82 | G10 | 5016a | tRF-5 | 5016a
83 | G11 | 5019a | tRF-5 | 5019a
84 | G12 | 5019b | tRF-5 | 5019b
85 | H01 | 5020b/5021a | tRF-5 | 5020b/5021a
86 | H02 | 5022a | tRF-5 | 5022a
87 | H03 | 5022b | tRF-5 | 5022b
88 | H04 | 5023b/5024b | tRF-5 | 5023b/5024b
89 | H05 | U6 | tRF_Ref
90 | H06 | miR-93-5p | tRF_Ref
91 | H07 | 5S rRNA | tRF_Ref
92 | H08 | RNA Spike-in | RNA Spike-in
93 | H09 | PPC-1 | Positive PCR Control
94 | H10 | PPC-2 | Positive PCR Control
95 | H11 | GDC | Genomic DNA Control
96 | H12 | Blank | Blank

## Test Sample Data
Transcript name | Well | Test
|  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20 | AVG | SD
1003 | A01 | [20 empty] | 35 | N/A | Ct Range | Distribution of Ct Values | [19 empty] | AVG | STD
1006 | A02 | [20 empty] | 35 | N/A |  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20
1008 | A03 | [20 empty] | 35 | N/A | <25 | [20 empty] | #DIV/0! | #DIV/0!
1009 | A04 | [20 empty] | 35 | N/A | 25-30 | [20 empty] | #DIV/0! | #DIV/0!
1010 | A05 | [20 empty] | 35 | N/A | 30-35 | [20 empty] | #DIV/0! | #DIV/0!
1015 | A06 | [20 empty] | 35 | N/A | Absent Calls | [20 empty] | #DIV/0! | #DIV/0!
1016 | A07 | [20 empty] | 35 | N/A | Percent Distribution of Ct Values
1019 | A08 | [20 empty] | 35 | N/A | <25 | [20 empty] | #DIV/0! | #DIV/0!
1020 | A09 | [20 empty] | 35 | N/A | 25-30 | [20 empty] | #DIV/0! | #DIV/0!
1026 | A10 | [20 empty] | 35 | N/A | 30-35 | [20 empty] | #DIV/0! | #DIV/0!
1035 | A11 | [20 empty] | 35 | N/A | Absent Calls | [20 empty] | #DIV/0! | #DIV/0!
3001b | A12 | [20 empty] | 35 | N/A
3002a/3035a | B01 | [20 empty] | 35 | N/A
3003a | B02 | [20 empty] | 35 | N/A
3004b | B03 | [20 empty] | 35 | N/A
3005a | B04 | [20 empty] | 35 | N/A
3006a | B05 | [20 empty] | 35 | N/A
3009a | B06 | [20 empty] | 35 | N/A
3009b | B07 | [20 empty] | 35 | N/A
3010a | B08 | [20 empty] | 35 | N/A
3010b | B09 | [20 empty] | 35 | N/A
3011a | B10 | [20 empty] | 35 | N/A
3011b | B11 | [20 empty] | 35 | N/A
3012b | B12 | [20 empty] | 35 | N/A
3017a | C01 | [20 empty] | 35 | N/A
3017b | C02 | [20 empty] | 35 | N/A
3019a | C03 | [20 empty] | 35 | N/A
3019b/3020b | C04 | [20 empty] | 35 | N/A
3021a | C05 | [20 empty] | 35 | N/A
3023b | C06 | [20 empty] | 35 | N/A
3024b/3046b | C07 | [20 empty] | 35 | N/A
3025a | C08 | [20 empty] | 35 | N/A
3025b | C09 | [20 empty] | 35 | N/A
3026a | C10 | [20 empty] | 35 | N/A
3027a | C11 | [20 empty] | 35 | N/A
3028b/3029b | C12 | [20 empty] | 35 | N/A
3028b/3029b/3040b/3045b | D01 | [20 empty] | 35 | N/A
3029a | D02 | [20 empty] | 35 | N/A
3030a | D03 | [20 empty] | 35 | N/A
3031a | D04 | [20 empty] | 35 | N/A
3031b | D05 | [20 empty] | 35 | N/A
3032a | D06 | [20 empty] | 35 | N/A
3032b | D07 | [20 empty] | 35 | N/A
3033a | D08 | [20 empty] | 35 | N/A
3033b | D09 | [20 empty] | 35 | N/A
3034a | D10 | [20 empty] | 35 | N/A
3036a | D11 | [20 empty] | 35 | N/A
3036b/3037b | D12 | [20 empty] | 35 | N/A
3038a | E01 | [20 empty] | 35 | N/A
3038b | E02 | [20 empty] | 35 | N/A
3039a | E03 | [20 empty] | 35 | N/A
3041b/3042b | E04 | [20 empty] | 35 | N/A
3043a | E05 | [20 empty] | 35 | N/A
3043b | E06 | [20 empty] | 35 | N/A
3044a | E07 | [20 empty] | 35 | N/A
3044b | E08 | [20 empty] | 35 | N/A
3045a | E09 | [20 empty] | 35 | N/A
3046a | E10 | [20 empty] | 35 | N/A
3047b | E11 | [20 empty] | 35 | N/A
3048a | E12 | [20 empty] | 35 | N/A
3050a | F01 | [20 empty] | 35 | N/A
3051a | F02 | [20 empty] | 35 | N/A
3052a | F03 | [20 empty] | 35 | N/A
5001a/5001b/5010a | F04 | [20 empty] | 35 | N/A
5002b/5004b | F05 | [20 empty] | 35 | N/A
5005a/5006b | F06 | [20 empty] | 35 | N/A
5005b | F07 | [20 empty] | 35 | N/A
5006a | F08 | [20 empty] | 35 | N/A
5006c | F09 | [20 empty] | 35 | N/A
5007a | F10 | [20 empty] | 35 | N/A
5009a | F11 | [20 empty] | 35 | N/A
5009b | F12 | [20 empty] | 35 | N/A
5011a | G01 | [20 empty] | 35 | N/A
5011b/5012b | G02 | [20 empty] | 35 | N/A
5012b | G03 | [20 empty] | 35 | N/A
5013a | G04 | [20 empty] | 35 | N/A
5013b | G05 | [20 empty] | 35 | N/A
5013b/5017b/5018b | G06 | [20 empty] | 35 | N/A
5014a | G07 | [20 empty] | 35 | N/A
5014a/5015a | G08 | [20 empty] | 35 | N/A
5014b | G09 | [20 empty] | 35 | N/A
5016a | G10 | [20 empty] | 35 | N/A
5019a | G11 | [20 empty] | 35 | N/A
5019b | G12 | [20 empty] | 35 | N/A
5020b/5021a | H01 | [20 empty] | 35 | N/A
5022a | H02 | [20 empty] | 35 | N/A
5022b | H03 | [20 empty] | 35 | N/A
5023b/5024b | H04 | [20 empty] | 35 | N/A
U6 | H05 | [20 empty] | 35 | N/A
miR-93-5p | H06 | [20 empty] | 35 | N/A
5S rRNA | H07 | [20 empty] | 35 | N/A
RNA Spike-in | H08 | [20 empty] | 35 | N/A
PPC-1 | H09 | [20 empty] | 35 | N/A
PPC-2 | H10 | [20 empty] | 35 | N/A
GDC | H11 | [20 empty] | 35 | N/A
Blank | H12 | [20 empty] | 35 | N/A
Note: If there are fewer than 3 data points, the standard deviation (SD) will appear as "N/A".

## Control Sample Data
Transcript name | Well | Control
|  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20 | AVG | SD
1003 | A01 | [20 empty] | 35 | N/A | Ct Range | Distribution of Ct Values | [19 empty] | AVG | STD
1006 | A02 | [20 empty] | 35 | N/A |  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20
1008 | A03 | [20 empty] | 35 | N/A | <25 | [20 empty] | #DIV/0! | #DIV/0!
1009 | A04 | [20 empty] | 35 | N/A | 25-30 | [20 empty] | #DIV/0! | #DIV/0!
1010 | A05 | [20 empty] | 35 | N/A | 30-35 | [20 empty] | #DIV/0! | #DIV/0!
1015 | A06 | [20 empty] | 35 | N/A | Absent Calls | [20 empty] | #DIV/0! | #DIV/0!
1016 | A07 | [20 empty] | 35 | N/A | Percent Distribution of Ct Values
1019 | A08 | [20 empty] | 35 | N/A | <25 | [20 empty] | #DIV/0! | #DIV/0!
1020 | A09 | [20 empty] | 35 | N/A | 25-30 | [20 empty] | #DIV/0! | #DIV/0!
1026 | A10 | [20 empty] | 35 | N/A | 30-35 | [20 empty] | #DIV/0! | #DIV/0!
1035 | A11 | [20 empty] | 35 | N/A | Absent Calls | [20 empty] | #DIV/0! | #DIV/0!
3001b | A12 | [20 empty] | 35 | N/A
3002a/3035a | B01 | [20 empty] | 35 | N/A
3003a | B02 | [20 empty] | 35 | N/A
3004b | B03 | [20 empty] | 35 | N/A
3005a | B04 | [20 empty] | 35 | N/A
3006a | B05 | [20 empty] | 35 | N/A
3009a | B06 | [20 empty] | 35 | N/A
3009b | B07 | [20 empty] | 35 | N/A
3010a | B08 | [20 empty] | 35 | N/A
3010b | B09 | [20 empty] | 35 | N/A
3011a | B10 | [20 empty] | 35 | N/A
3011b | B11 | [20 empty] | 35 | N/A
3012b | B12 | [20 empty] | 35 | N/A
3017a | C01 | [20 empty] | 35 | N/A
3017b | C02 | [20 empty] | 35 | N/A
3019a | C03 | [20 empty] | 35 | N/A
3019b/3020b | C04 | [20 empty] | 35 | N/A
3021a | C05 | [20 empty] | 35 | N/A
3023b | C06 | [20 empty] | 35 | N/A
3024b/3046b | C07 | [20 empty] | 35 | N/A
3025a | C08 | [20 empty] | 35 | N/A
3025b | C09 | [20 empty] | 35 | N/A
3026a | C10 | [20 empty] | 35 | N/A
3027a | C11 | [20 empty] | 35 | N/A
3028b/3029b | C12 | [20 empty] | 35 | N/A
3028b/3029b/3040b/3045b | D01 | [20 empty] | 35 | N/A
3029a | D02 | [20 empty] | 35 | N/A
3030a | D03 | [20 empty] | 35 | N/A
3031a | D04 | [20 empty] | 35 | N/A
3031b | D05 | [20 empty] | 35 | N/A
3032a | D06 | [20 empty] | 35 | N/A
3032b | D07 | [20 empty] | 35 | N/A
3033a | D08 | [20 empty] | 35 | N/A
3033b | D09 | [20 empty] | 35 | N/A
3034a | D10 | [20 empty] | 35 | N/A
3036a | D11 | [20 empty] | 35 | N/A
3036b/3037b | D12 | [20 empty] | 35 | N/A
3038a | E01 | [20 empty] | 35 | N/A
3038b | E02 | [20 empty] | 35 | N/A
3039a | E03 | [20 empty] | 35 | N/A
3041b/3042b | E04 | [20 empty] | 35 | N/A
3043a | E05 | [20 empty] | 35 | N/A
3043b | E06 | [20 empty] | 35 | N/A
3044a | E07 | [20 empty] | 35 | N/A
3044b | E08 | [20 empty] | 35 | N/A
3045a | E09 | [20 empty] | 35 | N/A
3046a | E10 | [20 empty] | 35 | N/A
3047b | E11 | [20 empty] | 35 | N/A
3048a | E12 | [20 empty] | 35 | N/A
3050a | F01 | [20 empty] | 35 | N/A
3051a | F02 | [20 empty] | 35 | N/A
3052a | F03 | [20 empty] | 35 | N/A
5001a/5001b/5010a | F04 | [20 empty] | 35 | N/A
5002b/5004b | F05 | [20 empty] | 35 | N/A
5005a/5006b | F06 | [20 empty] | 35 | N/A
5005b | F07 | [20 empty] | 35 | N/A
5006a | F08 | [20 empty] | 35 | N/A
5006c | F09 | [20 empty] | 35 | N/A
5007a | F10 | [20 empty] | 35 | N/A
5009a | F11 | [20 empty] | 35 | N/A
5009b | F12 | [20 empty] | 35 | N/A
5011a | G01 | [20 empty] | 35 | N/A
5011b/5012b | G02 | [20 empty] | 35 | N/A
5012b | G03 | [20 empty] | 35 | N/A
5013a | G04 | [20 empty] | 35 | N/A
5013b | G05 | [20 empty] | 35 | N/A
5013b/5017b/5018b | G06 | [20 empty] | 35 | N/A
5014a | G07 | [20 empty] | 35 | N/A
5014a/5015a | G08 | [20 empty] | 35 | N/A
5014b | G09 | [20 empty] | 35 | N/A
5016a | G10 | [20 empty] | 35 | N/A
5019a | G11 | [20 empty] | 35 | N/A
5019b | G12 | [20 empty] | 35 | N/A
5020b/5021a | H01 | [20 empty] | 35 | N/A
5022a | H02 | [20 empty] | 35 | N/A
5022b | H03 | [20 empty] | 35 | N/A
5023b/5024b | H04 | [20 empty] | 35 | N/A
U6 | H05 | [20 empty] | 35 | N/A
miR-93-5p | H06 | [20 empty] | 35 | N/A
5S rRNA | H07 | [20 empty] | 35 | N/A
RNA Spike-in | H08 | [20 empty] | 35 | N/A
PPC-1 | H09 | [20 empty] | 35 | N/A
PPC-2 | H10 | [20 empty] | 35 | N/A
GDC | H11 | [20 empty] | 35 | N/A
Blank | H12 | [20 empty] | 35 | N/A
Note: If there are fewer than 3 data points, the standard deviation (SD) will appear as "N/A".

## All expressed genes
|  | AVG ΔCt (Ct(GOI) - Ave Ct (HKG)) |  | 2^-ΔCt |  | Fold Difference | T-TEST | Fold Up- or Down-Regulation
Transcript name | Well | Test | Control | Test | Control | Test /Control | p value | Test /Control | Comments
1003 | A01 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
1006 | A02 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
1008 | A03 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
1009 | A04 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
1010 | A05 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
1015 | A06 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
1016 | A07 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
1019 | A08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
1020 | A09 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
1026 | A10 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
1035 | A11 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3001b | A12 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3002a/3035a | B01 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3003a | B02 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3004b | B03 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3005a | B04 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3006a | B05 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3009a | B06 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3009b | B07 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3010a | B08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3010b | B09 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3011a | B10 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3011b | B11 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3012b | B12 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3017a | C01 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3017b | C02 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3019a | C03 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3019b/3020b | C04 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3021a | C05 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3023b | C06 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3024b/3046b | C07 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3025a | C08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3025b | C09 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3026a | C10 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3027a | C11 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3028b/3029b | C12 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3028b/3029b/3040b/3045b | D01 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3029a | D02 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3030a | D03 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3031a | D04 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3031b | D05 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3032a | D06 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3032b | D07 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3033a | D08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3033b | D09 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3034a | D10 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3036a | D11 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3036b/3037b | D12 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3038a | E01 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3038b | E02 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3039a | E03 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3041b/3042b | E04 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3043a | E05 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3043b | E06 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3044a | E07 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3044b | E08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3045a | E09 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3046a | E10 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3047b | E11 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3048a | E12 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3050a | F01 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3051a | F02 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
3052a | F03 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
5001a/5001b/5010a | F04 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
5002b/5004b | F05 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
5005a/5006b | F06 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
5005b | F07 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
5006a | F08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
5006c | F09 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
5007a | F10 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
5009a | F11 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
5009b | F12 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
5011a | G01 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
5011b/5012b | G02 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
5012b | G03 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
5013a | G04 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
5013b | G05 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
5013b/5017b/5018b | G06 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
5014a | G07 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
5014a/5015a | G08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
5014b | G09 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
5016a | G10 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
5019a | G11 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
5019b | G12 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
5020b/5021a | H01 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
5022a | H02 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
5022b | H03 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
5023b/5024b | H04 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Notes: Fold Difference is the ratio of the normalized gene expression (2^(-Ct)) of the Test Sample divided by that of the Control Sample. It can be also obtained by (2^(-Ct)). Fold Regulation is expressed as the magnitude of fold change, with up- or down-regulation indicated by a positive (ommitted) or negative sign respectively. It is the same as fold difference, if >1, or -1/(fold difference) if < 1.
Fold-change values greater than 2 are indicated in red; the ones less than -2 are indicated in blue. p-value: The p values are calculated based on Student’s t-test of the replicate 2^(-Ct) values for each gene in the control group and treatment groups. p-values less than 0.05 are indicated in red. Comments: "A": The average Ct is relatively high (> 30) in one of the samples, but is still relatively low in the other sample (< 30), suggesting the fold change value may not be as accurately calculated. However, the actual fold change can be at least as large as what is calculated. If the p-value > 0.05, more biological replicates are needed to validate the fold change. "B": The average Ct values are relatively high (> 30) in both control and test samples, and the p-value is either unavailable or above cutoff (p > 0.05). More biological replicates are needed to detect differential expression at low expression levels. "C": The average Ct values are not determined or greater than the cut-off (default 35) in both samples, indicating the gene expression is undetected and fold-change values may be erroneous and reliable.

## Choose Housekeeping Genes
Housekeeping Gene Symbol | Well | Test | [19 empty] | Housekeeping Gene Symbol | Well | Control | [19 empty] | Housekeeping Gene Symbol | Diff-AVG | Diff-CV | T-Test
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
U6 | H05 | [20 empty] | U6 | H05 | [20 empty] | U6 | #DIV/0! | #DIV/0! | N/A | #NUM! | #NUM!
miR-93-5p | H06 | [20 empty] | miR-93-5p | H06 | [20 empty] | miR-93-5p | #DIV/0! | #DIV/0! | N/A | #NUM! | #NUM!
5S rRNA | H07 | [20 empty] | 5S rRNA | H07 | [20 empty] | 5S rRNA | #DIV/0! | #DIV/0! | N/A | #NUM! | #NUM!
Best 3 Reference Test |  | Test 1: Normalization factor | Best 3 Reference Control |  | Normalization factor
|  | Test 1: Test |  |  | Control
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
#NUM! |  | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! |  | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM!
#NUM! |  | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! |  | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM!
#NUM! |  | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! |  | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM!
AVG | [21 empty] | AVG
Inter-plate calibration | Well | Test 1: Test | Inter-plate calibration | Well | Control
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
PPC-1 | H09 | [20 empty] | PPC-1 | H09
PPC-2 | H10 | [20 empty] | PPC-2 | H10
IPC plate average | [21 empty] | IPC plate average
IPC overall average | [21 empty] | IPC overall average
Calibration factor | [21 empty] | Calibration factor
|  | Test 1: If no housekeeping gene is chosen, the normalization factor is zero (0). |  |  | If no housekeeping gene is chosen, the normalization factor is zero (0).

## Scatter Plot
2
The black line indicates fold changes (2 ^ (-DCt) of 1 (no difference). The pink lines indicate the fold-change threshold, defined by the user with the entry in cell A1. The axis scale or other plot formats can be adjusted by the Excel chart functions.
Scatter Plot
[6 empty] | Well | Symbol | 2-ΔCt
[8 empty] | Test | Control
[6 empty] | 1 | 1003 | #DIV/0! | #DIV/0!
[6 empty] | 2 | 1006 | #DIV/0! | #DIV/0!
[6 empty] | 3 | 1008 | #DIV/0! | #DIV/0!
[6 empty] | 4 | 1009 | #DIV/0! | #DIV/0!
[6 empty] | 5 | 1010 | #DIV/0! | #DIV/0!
| #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 6 | 1015 | #DIV/0! | #DIV/0!
| #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 7 | 1016 | #DIV/0! | #DIV/0!
[6 empty] | 8 | 1019 | #DIV/0! | #DIV/0!
[6 empty] | 9 | 1020 | #DIV/0! | #DIV/0!
[6 empty] | 10 | 1026 | #DIV/0! | #DIV/0!
[6 empty] | 11 | 1035 | #DIV/0! | #DIV/0!
[6 empty] | 12 | 3001b | #DIV/0! | #DIV/0!
[6 empty] | 13 | 3002a/3035a | #DIV/0! | #DIV/0!
[6 empty] | 14 | 3003a | #DIV/0! | #DIV/0!
[6 empty] | 15 | 3004b | #DIV/0! | #DIV/0!
[6 empty] | 16 | 3005a | #DIV/0! | #DIV/0!
[6 empty] | 17 | 3006a | #DIV/0! | #DIV/0!
[6 empty] | 18 | 3009a | #DIV/0! | #DIV/0!
[6 empty] | 19 | 3009b | #DIV/0! | #DIV/0!
[6 empty] | 20 | 3010a | #DIV/0! | #DIV/0!
[6 empty] | 21 | 3010b | #DIV/0! | #DIV/0!
[6 empty] | 22 | 3011a | #DIV/0! | #DIV/0!
[6 empty] | 23 | 3011b | #DIV/0! | #DIV/0!
[6 empty] | 24 | 3012b | #DIV/0! | #DIV/0!
[6 empty] | 25 | 3017a | #DIV/0! | #DIV/0!
[6 empty] | 26 | 3017b | #DIV/0! | #DIV/0!
[6 empty] | 27 | 3019a | #DIV/0! | #DIV/0!
[6 empty] | 28 | 3019b/3020b | #DIV/0! | #DIV/0!
[6 empty] | 29 | 3021a | #DIV/0! | #DIV/0!
[6 empty] | 30 | 3023b | #DIV/0! | #DIV/0!
[6 empty] | 31 | 3024b/3046b | #DIV/0! | #DIV/0!
[6 empty] | 32 | 3025a | #DIV/0! | #DIV/0!
[6 empty] | 33 | 3025b | #DIV/0! | #DIV/0!
[6 empty] | 34 | 3026a | #DIV/0! | #DIV/0!
[6 empty] | 35 | 3027a | #DIV/0! | #DIV/0!
[6 empty] | 36 | 3028b/3029b | #DIV/0! | #DIV/0!
[6 empty] | 37 | 3028b/3029b/3040b/3045b | #DIV/0! | #DIV/0!
[6 empty] | 38 | 3029a | #DIV/0! | #DIV/0!
[6 empty] | 39 | 3030a | #DIV/0! | #DIV/0!
[6 empty] | 40 | 3031a | #DIV/0! | #DIV/0!
[6 empty] | 41 | 3031b | #DIV/0! | #DIV/0!
[6 empty] | 42 | 3032a | #DIV/0! | #DIV/0!
[6 empty] | 43 | 3032b | #DIV/0! | #DIV/0!
[6 empty] | 44 | 3033a | #DIV/0! | #DIV/0!
[6 empty] | 45 | 3033b | #DIV/0! | #DIV/0!
[6 empty] | 46 | 3034a | #DIV/0! | #DIV/0!
[6 empty] | 47 | 3036a | #DIV/0! | #DIV/0!
[6 empty] | 48 | 3036b/3037b | #DIV/0! | #DIV/0!
[6 empty] | 49 | 3038a | #DIV/0! | #DIV/0!
[6 empty] | 50 | 3038b | #DIV/0! | #DIV/0!
[6 empty] | 51 | 3039a | #DIV/0! | #DIV/0!
[6 empty] | 52 | 3041b/3042b | #DIV/0! | #DIV/0!
[6 empty] | 53 | 3043a | #DIV/0! | #DIV/0!
[6 empty] | 54 | 3043b | #DIV/0! | #DIV/0!
[6 empty] | 55 | 3044a | #DIV/0! | #DIV/0!
[6 empty] | 56 | 3044b | #DIV/0! | #DIV/0!
[6 empty] | 57 | 3045a | #DIV/0! | #DIV/0!
[6 empty] | 58 | 3046a | #DIV/0! | #DIV/0!
[6 empty] | 59 | 3047b | #DIV/0! | #DIV/0!
[6 empty] | 60 | 3048a | #DIV/0! | #DIV/0!
[6 empty] | 61 | 3050a | #DIV/0! | #DIV/0!
[6 empty] | 62 | 3051a | #DIV/0! | #DIV/0!
[6 empty] | 63 | 3052a | #DIV/0! | #DIV/0!
[6 empty] | 64 | 5001a/5001b/5010a | #DIV/0! | #DIV/0!
[6 empty] | 65 | 5002b/5004b | #DIV/0! | #DIV/0!
[6 empty] | 66 | 5005a/5006b | #DIV/0! | #DIV/0!
[6 empty] | 67 | 5005b | #DIV/0! | #DIV/0!
[6 empty] | 68 | 5006a | #DIV/0! | #DIV/0!
[6 empty] | 69 | 5006c | #DIV/0! | #DIV/0!
[6 empty] | 70 | 5007a | #DIV/0! | #DIV/0!
[6 empty] | 71 | 5009a | #DIV/0! | #DIV/0!
[6 empty] | 72 | 5009b | #DIV/0! | #DIV/0!
[6 empty] | 73 | 5011a | #DIV/0! | #DIV/0!
[6 empty] | 74 | 5011b/5012b | #DIV/0! | #DIV/0!
[6 empty] | 75 | 5012b | #DIV/0! | #DIV/0!
[6 empty] | 76 | 5013a | #DIV/0! | #DIV/0!
[6 empty] | 77 | 5013b | #DIV/0! | #DIV/0!
[6 empty] | 78 | 5013b/5017b/5018b | #DIV/0! | #DIV/0!
[6 empty] | 79 | 5014a | #DIV/0! | #DIV/0!
[6 empty] | 80 | 5014a/5015a | #DIV/0! | #DIV/0!
[6 empty] | 81 | 5014b | #DIV/0! | #DIV/0!
[6 empty] | 82 | 5016a | #DIV/0! | #DIV/0!
[6 empty] | 83 | 5019a | #DIV/0! | #DIV/0!
[6 empty] | 84 | 5019b | #DIV/0! | #DIV/0!
[6 empty] | 85 | 5020b/5021a | #DIV/0! | #DIV/0!
[6 empty] | 86 | 5022a | #DIV/0! | #DIV/0!
[6 empty] | 87 | 5022b | #DIV/0! | #DIV/0!
[6 empty] | 88 | 5023b/5024b | #DIV/0! | #DIV/0!

## Volcano Plot
Threshold for Fold Difference |  |  | 2 |  | Threshold for p Value of t-test | 0.05
The black line indicates a fold-change value of 1.
The pink lines indicate the threshold of fold-change, as defined in the yellow D1 cell.
The blue line indicates the p value cutoff, as defined in the yellow I1 cell.
The axis scales and other plot options can be adjusted by using the standard Excel functions. | [8 empty] | Volcano Plot |  |  |  |  | Volcano Plot
[7 empty] | Well | Symbol | Log2(FC) | p Value | Comments | Well | Symbol | Log2(FC) | p Value
[7 empty] | 1 | 1003 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 2 | 1006 | #DIV/0! | #N/A | C | #REF! | #REF!
| #DIV/0! | 0.05 |  |  |  |  | 3 | 1008 | #DIV/0! | #N/A | C | #REF! | #REF!
| #DIV/0! | 0.05 |  |  |  |  | 4 | 1009 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 5 | 1010 | #DIV/0! | #N/A | C | #REF! | #REF!
1 | 1 | 1 | -1 | 0 |  |  | 6 | 1015 | #DIV/0! | #N/A | C | #REF! | #REF!
#N/A | #N/A | 1 | -1 | 0 |  |  | 7 | 1016 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 8 | 1019 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 9 | 1020 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 10 | 1026 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 11 | 1035 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 12 | 3001b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 13 | 3002a/3035a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 14 | 3003a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 15 | 3004b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 16 | 3005a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 17 | 3006a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 18 | 3009a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 19 | 3009b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 20 | 3010a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 21 | 3010b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 22 | 3011a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 23 | 3011b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 24 | 3012b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 25 | 3017a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 26 | 3017b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 27 | 3019a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 28 | 3019b/3020b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 29 | 3021a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 30 | 3023b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 31 | 3024b/3046b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 32 | 3025a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 33 | 3025b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 34 | 3026a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 35 | 3027a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 36 | 3028b/3029b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 37 | 3028b/3029b/3040b/3045b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 38 | 3029a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 39 | 3030a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 40 | 3031a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 41 | 3031b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 42 | 3032a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 43 | 3032b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 44 | 3033a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 45 | 3033b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 46 | 3034a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 47 | 3036a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 48 | 3036b/3037b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 49 | 3038a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 50 | 3038b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 51 | 3039a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 52 | 3041b/3042b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 53 | 3043a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 54 | 3043b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 55 | 3044a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 56 | 3044b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 57 | 3045a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 58 | 3046a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 59 | 3047b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 60 | 3048a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 61 | 3050a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 62 | 3051a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 63 | 3052a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 64 | 5001a/5001b/5010a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 65 | 5002b/5004b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 66 | 5005a/5006b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 67 | 5005b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 68 | 5006a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 69 | 5006c | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 70 | 5007a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 71 | 5009a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 72 | 5009b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 73 | 5011a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 74 | 5011b/5012b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 75 | 5012b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 76 | 5013a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 77 | 5013b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 78 | 5013b/5017b/5018b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 79 | 5014a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 80 | 5014a/5015a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 81 | 5014b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 82 | 5016a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 83 | 5019a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 84 | 5019b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 85 | 5020b/5021a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 86 | 5022a | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 87 | 5022b | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 88 | 5023b/5024b | #DIV/0! | #N/A | C | #REF! | #REF!

## Data pre-processing
Symbol | Well | Test(>35 and (N/A or blank) to 35) & (Inter-plate calibration) | [19 empty] | Symbol | Well | Control(>35 and (N/A or blank) to 35) & (Inter-plate calibration) | [19 empty] | Symbol | Well | Test(normalization) | [19 empty] | Symbol | Well | Control(normalization) | [19 empty] | Test | Control | [7 empty] | Symbol | Well | Test(normalization) | [19 empty] | Symbol | Well | Control(normalization)
|  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20 |  |  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20 |  |  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20 |  |  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20 | [11 empty] | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20 |  |  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20
1003 | A01 | [20 empty] | 1003 | A01 | [20 empty] | 1003 | A01 | [20 empty] | 1003 | A01 | [20 empty] | #DIV/0! | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 88 | #DIV/0! | #DIV/0! | #DIV/0! | 1003 | A01 | [20 empty] | 1003 | A01
1006 | A02 | [20 empty] | 1006 | A02 | [20 empty] | 1006 | A02 | [20 empty] | 1006 | A02 | [20 empty] | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | 87 | #DIV/0! | #DIV/0! | #DIV/0! | 1006 | A02 | [20 empty] | 1006 | A02
1008 | A03 | [20 empty] | 1008 | A03 | [20 empty] | 1008 | A03 | [20 empty] | 1008 | A03 | [20 empty] | #DIV/0! | #DIV/0! | 3 | #DIV/0! | #DIV/0! | 86 | #DIV/0! | #DIV/0! | #DIV/0! | 1008 | A03 | [20 empty] | 1008 | A03
1009 | A04 | [20 empty] | 1009 | A04 | [20 empty] | 1009 | A04 | [20 empty] | 1009 | A04 | [20 empty] | #DIV/0! | #DIV/0! | 4 | #DIV/0! | #DIV/0! | 85 | #DIV/0! | #DIV/0! | #DIV/0! | 1009 | A04 | [20 empty] | 1009 | A04
1010 | A05 | [20 empty] | 1010 | A05 | [20 empty] | 1010 | A05 | [20 empty] | 1010 | A05 | [20 empty] | #DIV/0! | #DIV/0! | 5 | #DIV/0! | #DIV/0! | 84 | #DIV/0! | #DIV/0! | #DIV/0! | 1010 | A05 | [20 empty] | 1010 | A05
1015 | A06 | [20 empty] | 1015 | A06 | [20 empty] | 1015 | A06 | [20 empty] | 1015 | A06 | [20 empty] | #DIV/0! | #DIV/0! | 6 | #DIV/0! | #DIV/0! | 83 | #DIV/0! | #DIV/0! | #DIV/0! | 1015 | A06 | [20 empty] | 1015 | A06
1016 | A07 | [20 empty] | 1016 | A07 | [20 empty] | 1016 | A07 | [20 empty] | 1016 | A07 | [20 empty] | #DIV/0! | #DIV/0! | 7 | #DIV/0! | #DIV/0! | 82 | #DIV/0! | #DIV/0! | #DIV/0! | 1016 | A07 | [20 empty] | 1016 | A07
1019 | A08 | [20 empty] | 1019 | A08 | [20 empty] | 1019 | A08 | [20 empty] | 1019 | A08 | [20 empty] | #DIV/0! | #DIV/0! | 8 | #DIV/0! | #DIV/0! | 81 | #DIV/0! | #DIV/0! | #DIV/0! | 1019 | A08 | [20 empty] | 1019 | A08
1020 | A09 | [20 empty] | 1020 | A09 | [20 empty] | 1020 | A09 | [20 empty] | 1020 | A09 | [20 empty] | #DIV/0! | #DIV/0! | 9 | #DIV/0! | #DIV/0! | 80 | #DIV/0! | #DIV/0! | #DIV/0! | 1020 | A09 | [20 empty] | 1020 | A09
1026 | A10 | [20 empty] | 1026 | A10 | [20 empty] | 1026 | A10 | [20 empty] | 1026 | A10 | [20 empty] | #DIV/0! | #DIV/0! | 10 | #DIV/0! | #DIV/0! | 79 | #DIV/0! | #DIV/0! | #DIV/0! | 1026 | A10 | [20 empty] | 1026 | A10
1035 | A11 | [20 empty] | 1035 | A11 | [20 empty] | 1035 | A11 | [20 empty] | 1035 | A11 | [20 empty] | #DIV/0! | #DIV/0! | 11 | #DIV/0! | #DIV/0! | 78 | #DIV/0! | #DIV/0! | #DIV/0! | 1035 | A11 | [20 empty] | 1035 | A11
3001b | A12 | [20 empty] | 3001b | A12 | [20 empty] | 3001b | A12 | [20 empty] | 3001b | A12 | [20 empty] | #DIV/0! | #DIV/0! | 12 | #DIV/0! | #DIV/0! | 77 | #DIV/0! | #DIV/0! | #DIV/0! | 3001b | A12 | [20 empty] | 3001b | A12
3002a/3035a | B01 | [20 empty] | 3002a/3035a | B01 | [20 empty] | 3002a/3035a | B01 | [20 empty] | 3002a/3035a | B01 | [20 empty] | #DIV/0! | #DIV/0! | 13 | #DIV/0! | #DIV/0! | 76 | #DIV/0! | #DIV/0! | #DIV/0! | 3002a/3035a | B01 | [20 empty] | 3002a/3035a | B01
3003a | B02 | [20 empty] | 3003a | B02 | [20 empty] | 3003a | B02 | [20 empty] | 3003a | B02 | [20 empty] | #DIV/0! | #DIV/0! | 14 | #DIV/0! | #DIV/0! | 75 | #DIV/0! | #DIV/0! | #DIV/0! | 3003a | B02 | [20 empty] | 3003a | B02
3004b | B03 | [20 empty] | 3004b | B03 | [20 empty] | 3004b | B03 | [20 empty] | 3004b | B03 | [20 empty] | #DIV/0! | #DIV/0! | 15 | #DIV/0! | #DIV/0! | 74 | #DIV/0! | #DIV/0! | #DIV/0! | 3004b | B03 | [20 empty] | 3004b | B03
3005a | B04 | [20 empty] | 3005a | B04 | [20 empty] | 3005a | B04 | [20 empty] | 3005a | B04 | [20 empty] | #DIV/0! | #DIV/0! | 16 | #DIV/0! | #DIV/0! | 73 | #DIV/0! | #DIV/0! | #DIV/0! | 3005a | B04 | [20 empty] | 3005a | B04
3006a | B05 | [20 empty] | 3006a | B05 | [20 empty] | 3006a | B05 | [20 empty] | 3006a | B05 | [20 empty] | #DIV/0! | #DIV/0! | 17 | #DIV/0! | #DIV/0! | 72 | #DIV/0! | #DIV/0! | #DIV/0! | 3006a | B05 | [20 empty] | 3006a | B05
3009a | B06 | [20 empty] | 3009a | B06 | [20 empty] | 3009a | B06 | [20 empty] | 3009a | B06 | [20 empty] | #DIV/0! | #DIV/0! | 18 | #DIV/0! | #DIV/0! | 71 | #DIV/0! | #DIV/0! | #DIV/0! | 3009a | B06 | [20 empty] | 3009a | B06
3009b | B07 | [20 empty] | 3009b | B07 | [20 empty] | 3009b | B07 | [20 empty] | 3009b | B07 | [20 empty] | #DIV/0! | #DIV/0! | 19 | #DIV/0! | #DIV/0! | 70 | #DIV/0! | #DIV/0! | #DIV/0! | 3009b | B07 | [20 empty] | 3009b | B07
3010a | B08 | [20 empty] | 3010a | B08 | [20 empty] | 3010a | B08 | [20 empty] | 3010a | B08 | [20 empty] | #DIV/0! | #DIV/0! | 20 | #DIV/0! | #DIV/0! | 69 | #DIV/0! | #DIV/0! | #DIV/0! | 3010a | B08 | [20 empty] | 3010a | B08
3010b | B09 | [20 empty] | 3010b | B09 | [20 empty] | 3010b | B09 | [20 empty] | 3010b | B09 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3010b | B09 | [20 empty] | 3010b | B09
3011a | B10 | [20 empty] | 3011a | B10 | [20 empty] | 3011a | B10 | [20 empty] | 3011a | B10 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3011a | B10 | [20 empty] | 3011a | B10
3011b | B11 | [20 empty] | 3011b | B11 | [20 empty] | 3011b | B11 | [20 empty] | 3011b | B11 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3011b | B11 | [20 empty] | 3011b | B11
3012b | B12 | [20 empty] | 3012b | B12 | [20 empty] | 3012b | B12 | [20 empty] | 3012b | B12 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3012b | B12 | [20 empty] | 3012b | B12
3017a | C01 | [20 empty] | 3017a | C01 | [20 empty] | 3017a | C01 | [20 empty] | 3017a | C01 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3017a | C01 | [20 empty] | 3017a | C01
3017b | C02 | [20 empty] | 3017b | C02 | [20 empty] | 3017b | C02 | [20 empty] | 3017b | C02 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3017b | C02 | [20 empty] | 3017b | C02
3019a | C03 | [20 empty] | 3019a | C03 | [20 empty] | 3019a | C03 | [20 empty] | 3019a | C03 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3019a | C03 | [20 empty] | 3019a | C03
3019b/3020b | C04 | [20 empty] | 3019b/3020b | C04 | [20 empty] | 3019b/3020b | C04 | [20 empty] | 3019b/3020b | C04 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3019b/3020b | C04 | [20 empty] | 3019b/3020b | C04
3021a | C05 | [20 empty] | 3021a | C05 | [20 empty] | 3021a | C05 | [20 empty] | 3021a | C05 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3021a | C05 | [20 empty] | 3021a | C05
3023b | C06 | [20 empty] | 3023b | C06 | [20 empty] | 3023b | C06 | [20 empty] | 3023b | C06 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3023b | C06 | [20 empty] | 3023b | C06
3024b/3046b | C07 | [20 empty] | 3024b/3046b | C07 | [20 empty] | 3024b/3046b | C07 | [20 empty] | 3024b/3046b | C07 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3024b/3046b | C07 | [20 empty] | 3024b/3046b | C07
3025a | C08 | [20 empty] | 3025a | C08 | [20 empty] | 3025a | C08 | [20 empty] | 3025a | C08 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3025a | C08 | [20 empty] | 3025a | C08
3025b | C09 | [20 empty] | 3025b | C09 | [20 empty] | 3025b | C09 | [20 empty] | 3025b | C09 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3025b | C09 | [20 empty] | 3025b | C09
3026a | C10 | [20 empty] | 3026a | C10 | [20 empty] | 3026a | C10 | [20 empty] | 3026a | C10 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3026a | C10 | [20 empty] | 3026a | C10
3027a | C11 | [20 empty] | 3027a | C11 | [20 empty] | 3027a | C11 | [20 empty] | 3027a | C11 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3027a | C11 | [20 empty] | 3027a | C11
3028b/3029b | C12 | [20 empty] | 3028b/3029b | C12 | [20 empty] | 3028b/3029b | C12 | [20 empty] | 3028b/3029b | C12 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3028b/3029b | C12 | [20 empty] | 3028b/3029b | C12
3028b/3029b/3040b/3045b | D01 | [20 empty] | 3028b/3029b/3040b/3045b | D01 | [20 empty] | 3028b/3029b/3040b/3045b | D01 | [20 empty] | 3028b/3029b/3040b/3045b | D01 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3028b/3029b/3040b/3045b | D01 | [20 empty] | 3028b/3029b/3040b/3045b | D01
3029a | D02 | [20 empty] | 3029a | D02 | [20 empty] | 3029a | D02 | [20 empty] | 3029a | D02 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3029a | D02 | [20 empty] | 3029a | D02
3030a | D03 | [20 empty] | 3030a | D03 | [20 empty] | 3030a | D03 | [20 empty] | 3030a | D03 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3030a | D03 | [20 empty] | 3030a | D03
3031a | D04 | [20 empty] | 3031a | D04 | [20 empty] | 3031a | D04 | [20 empty] | 3031a | D04 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3031a | D04 | [20 empty] | 3031a | D04
3031b | D05 | [20 empty] | 3031b | D05 | [20 empty] | 3031b | D05 | [20 empty] | 3031b | D05 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3031b | D05 | [20 empty] | 3031b | D05
3032a | D06 | [20 empty] | 3032a | D06 | [20 empty] | 3032a | D06 | [20 empty] | 3032a | D06 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3032a | D06 | [20 empty] | 3032a | D06
3032b | D07 | [20 empty] | 3032b | D07 | [20 empty] | 3032b | D07 | [20 empty] | 3032b | D07 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3032b | D07 | [20 empty] | 3032b | D07
3033a | D08 | [20 empty] | 3033a | D08 | [20 empty] | 3033a | D08 | [20 empty] | 3033a | D08 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3033a | D08 | [20 empty] | 3033a | D08
3033b | D09 | [20 empty] | 3033b | D09 | [20 empty] | 3033b | D09 | [20 empty] | 3033b | D09 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3033b | D09 | [20 empty] | 3033b | D09
3034a | D10 | [20 empty] | 3034a | D10 | [20 empty] | 3034a | D10 | [20 empty] | 3034a | D10 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3034a | D10 | [20 empty] | 3034a | D10
3036a | D11 | [20 empty] | 3036a | D11 | [20 empty] | 3036a | D11 | [20 empty] | 3036a | D11 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3036a | D11 | [20 empty] | 3036a | D11
3036b/3037b | D12 | [20 empty] | 3036b/3037b | D12 | [20 empty] | 3036b/3037b | D12 | [20 empty] | 3036b/3037b | D12 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3036b/3037b | D12 | [20 empty] | 3036b/3037b | D12
3038a | E01 | [20 empty] | 3038a | E01 | [20 empty] | 3038a | E01 | [20 empty] | 3038a | E01 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3038a | E01 | [20 empty] | 3038a | E01
3038b | E02 | [20 empty] | 3038b | E02 | [20 empty] | 3038b | E02 | [20 empty] | 3038b | E02 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3038b | E02 | [20 empty] | 3038b | E02
3039a | E03 | [20 empty] | 3039a | E03 | [20 empty] | 3039a | E03 | [20 empty] | 3039a | E03 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3039a | E03 | [20 empty] | 3039a | E03
3041b/3042b | E04 | [20 empty] | 3041b/3042b | E04 | [20 empty] | 3041b/3042b | E04 | [20 empty] | 3041b/3042b | E04 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3041b/3042b | E04 | [20 empty] | 3041b/3042b | E04
3043a | E05 | [20 empty] | 3043a | E05 | [20 empty] | 3043a | E05 | [20 empty] | 3043a | E05 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3043a | E05 | [20 empty] | 3043a | E05
3043b | E06 | [20 empty] | 3043b | E06 | [20 empty] | 3043b | E06 | [20 empty] | 3043b | E06 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3043b | E06 | [20 empty] | 3043b | E06
3044a | E07 | [20 empty] | 3044a | E07 | [20 empty] | 3044a | E07 | [20 empty] | 3044a | E07 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3044a | E07 | [20 empty] | 3044a | E07
3044b | E08 | [20 empty] | 3044b | E08 | [20 empty] | 3044b | E08 | [20 empty] | 3044b | E08 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3044b | E08 | [20 empty] | 3044b | E08
3045a | E09 | [20 empty] | 3045a | E09 | [20 empty] | 3045a | E09 | [20 empty] | 3045a | E09 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3045a | E09 | [20 empty] | 3045a | E09
3046a | E10 | [20 empty] | 3046a | E10 | [20 empty] | 3046a | E10 | [20 empty] | 3046a | E10 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3046a | E10 | [20 empty] | 3046a | E10
3047b | E11 | [20 empty] | 3047b | E11 | [20 empty] | 3047b | E11 | [20 empty] | 3047b | E11 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3047b | E11 | [20 empty] | 3047b | E11
3048a | E12 | [20 empty] | 3048a | E12 | [20 empty] | 3048a | E12 | [20 empty] | 3048a | E12 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3048a | E12 | [20 empty] | 3048a | E12
3050a | F01 | [20 empty] | 3050a | F01 | [20 empty] | 3050a | F01 | [20 empty] | 3050a | F01 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3050a | F01 | [20 empty] | 3050a | F01
3051a | F02 | [20 empty] | 3051a | F02 | [20 empty] | 3051a | F02 | [20 empty] | 3051a | F02 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3051a | F02 | [20 empty] | 3051a | F02
3052a | F03 | [20 empty] | 3052a | F03 | [20 empty] | 3052a | F03 | [20 empty] | 3052a | F03 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 3052a | F03 | [20 empty] | 3052a | F03
5001a/5001b/5010a | F04 | [20 empty] | 5001a/5001b/5010a | F04 | [20 empty] | 5001a/5001b/5010a | F04 | [20 empty] | 5001a/5001b/5010a | F04 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5001a/5001b/5010a | F04 | [20 empty] | 5001a/5001b/5010a | F04
5002b/5004b | F05 | [20 empty] | 5002b/5004b | F05 | [20 empty] | 5002b/5004b | F05 | [20 empty] | 5002b/5004b | F05 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5002b/5004b | F05 | [20 empty] | 5002b/5004b | F05
5005a/5006b | F06 | [20 empty] | 5005a/5006b | F06 | [20 empty] | 5005a/5006b | F06 | [20 empty] | 5005a/5006b | F06 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5005a/5006b | F06 | [20 empty] | 5005a/5006b | F06
5005b | F07 | [20 empty] | 5005b | F07 | [20 empty] | 5005b | F07 | [20 empty] | 5005b | F07 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5005b | F07 | [20 empty] | 5005b | F07
5006a | F08 | [20 empty] | 5006a | F08 | [20 empty] | 5006a | F08 | [20 empty] | 5006a | F08 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5006a | F08 | [20 empty] | 5006a | F08
5006c | F09 | [20 empty] | 5006c | F09 | [20 empty] | 5006c | F09 | [20 empty] | 5006c | F09 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5006c | F09 | [20 empty] | 5006c | F09
5007a | F10 | [20 empty] | 5007a | F10 | [20 empty] | 5007a | F10 | [20 empty] | 5007a | F10 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5007a | F10 | [20 empty] | 5007a | F10
5009a | F11 | [20 empty] | 5009a | F11 | [20 empty] | 5009a | F11 | [20 empty] | 5009a | F11 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5009a | F11 | [20 empty] | 5009a | F11
5009b | F12 | [20 empty] | 5009b | F12 | [20 empty] | 5009b | F12 | [20 empty] | 5009b | F12 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5009b | F12 | [20 empty] | 5009b | F12
5011a | G01 | [20 empty] | 5011a | G01 | [20 empty] | 5011a | G01 | [20 empty] | 5011a | G01 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5011a | G01 | [20 empty] | 5011a | G01
5011b/5012b | G02 | [20 empty] | 5011b/5012b | G02 | [20 empty] | 5011b/5012b | G02 | [20 empty] | 5011b/5012b | G02 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5011b/5012b | G02 | [20 empty] | 5011b/5012b | G02
5012b | G03 | [20 empty] | 5012b | G03 | [20 empty] | 5012b | G03 | [20 empty] | 5012b | G03 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5012b | G03 | [20 empty] | 5012b | G03
5013a | G04 | [20 empty] | 5013a | G04 | [20 empty] | 5013a | G04 | [20 empty] | 5013a | G04 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5013a | G04 | [20 empty] | 5013a | G04
5013b | G05 | [20 empty] | 5013b | G05 | [20 empty] | 5013b | G05 | [20 empty] | 5013b | G05 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5013b | G05 | [20 empty] | 5013b | G05
5013b/5017b/5018b | G06 | [20 empty] | 5013b/5017b/5018b | G06 | [20 empty] | 5013b/5017b/5018b | G06 | [20 empty] | 5013b/5017b/5018b | G06 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5013b/5017b/5018b | G06 | [20 empty] | 5013b/5017b/5018b | G06
5014a | G07 | [20 empty] | 5014a | G07 | [20 empty] | 5014a | G07 | [20 empty] | 5014a | G07 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5014a | G07 | [20 empty] | 5014a | G07
5014a/5015a | G08 | [20 empty] | 5014a/5015a | G08 | [20 empty] | 5014a/5015a | G08 | [20 empty] | 5014a/5015a | G08 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5014a/5015a | G08 | [20 empty] | 5014a/5015a | G08
5014b | G09 | [20 empty] | 5014b | G09 | [20 empty] | 5014b | G09 | [20 empty] | 5014b | G09 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5014b | G09 | [20 empty] | 5014b | G09
5016a | G10 | [20 empty] | 5016a | G10 | [20 empty] | 5016a | G10 | [20 empty] | 5016a | G10 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5016a | G10 | [20 empty] | 5016a | G10
5019a | G11 | [20 empty] | 5019a | G11 | [20 empty] | 5019a | G11 | [20 empty] | 5019a | G11 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5019a | G11 | [20 empty] | 5019a | G11
5019b | G12 | [20 empty] | 5019b | G12 | [20 empty] | 5019b | G12 | [20 empty] | 5019b | G12 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5019b | G12 | [20 empty] | 5019b | G12
5020b/5021a | H01 | [20 empty] | 5020b/5021a | H01 | [20 empty] | 5020b/5021a | H01 | [20 empty] | 5020b/5021a | H01 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5020b/5021a | H01 | [20 empty] | 5020b/5021a | H01
5022a | H02 | [20 empty] | 5022a | H02 | [20 empty] | 5022a | H02 | [20 empty] | 5022a | H02 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5022a | H02 | [20 empty] | 5022a | H02
5022b | H03 | [20 empty] | 5022b | H03 | [20 empty] | 5022b | H03 | [20 empty] | 5022b | H03 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5022b | H03 | [20 empty] | 5022b | H03
5023b/5024b | H04 | [20 empty] | 5023b/5024b | H04 | [20 empty] | 5023b/5024b | H04 | [20 empty] | 5023b/5024b | H04 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5023b/5024b | H04 | [20 empty] | 5023b/5024b | H04
U6 | H05 | [20 empty] | U6 | H05 | [20 empty] | U6 | H05 | [20 empty] | U6 | H05 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | U6 | H05 | [20 empty] | U6 | H05
miR-93-5p | H06 | [20 empty] | miR-93-5p | H06 | [20 empty] | miR-93-5p | H06 | [20 empty] | miR-93-5p | H06 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | miR-93-5p | H06 | [20 empty] | miR-93-5p | H06
5S rRNA | H07 | [20 empty] | 5S rRNA | H07 | [20 empty] | 5S rRNA | H07 | [20 empty] | 5S rRNA | H07 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | 5S rRNA | H07 | [20 empty] | 5S rRNA | H07
RNA Spike-in | H08 | [20 empty] | RNA Spike-in | H08 | [20 empty] | RNA Spike-in | H08 | [20 empty] | RNA Spike-in | H08 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | RNA Spike-in | H08 | [20 empty] | RNA Spike-in | H08
PPC-1 | H09 | [20 empty] | PPC-1 | H09 | [20 empty] | PPC-1 | H09 | [20 empty] | PPC-1 | H09 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | PPC-1 | H09 | [20 empty] | PPC-1 | H09
PPC-2 | H10 | [20 empty] | PPC-2 | H10 | [20 empty] | PPC-2 | H10 | [20 empty] | PPC-2 | H10 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | PPC-2 | H10 | [20 empty] | PPC-2 | H10
GDC | H11 | [20 empty] | GDC | H11 | [20 empty] | GDC | H11 | [20 empty] | GDC | H11 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | GDC | H11 | [20 empty] | GDC | H11
Blank | H12 | [20 empty] | Blank | H12 | [20 empty] | Blank | H12 | [20 empty] | Blank | H12 | [20 empty] | #DIV/0! | #DIV/0! | [7 empty] | Blank | H12 | [20 empty] | Blank | H12